FDA Regulation:  21-CFR-801  Medical Device Labeling Provisions

[Revised as of April 1, 2009]

[Code of Federal Regulations] [Title 21, Volume 8]

From the U.S. Government Printing Office via GPO Access

[CITE: 21CFR801]

TITLE 21--FOOD AND DRUGS

CHAPTER I--FOOD AND DRUG ADMINISTRATION, DEPARTMENT OF HEALTH AND HUMAN

SERVICES (CONTINUED)

PART 801_LABELING--Table of Contents

Subpart A_General Labeling Provisions

Sec.

801.1 Medical devices; name and place of business of manufacturer,

packer or distributor.

801.4 Meaning of intended uses.

801.5 Medical devices; adequate directions for use.

801.6 Medical devices; misleading statements.

801.15 Medical devices; prominence of required label statements.

801.16 Medical devices; Spanish-language version of certain required

statements.

Subpart B [Reserved]

Subpart C_Labeling Requirements for Over-the-Counter Devices

801.60 Principal display panel.

801.61 Statement of identity.

801.62 Declaration of net quantity of contents.

801.63 Medical devices; warning statements for devices containing or

manufactured with chlorofluorocarbons and other class I ozone-

depleting substances.

Subpart D_Exemptions From Adequate Directions for Use

801.109 Prescription devices.

801.110 Retail exemption for prescription devices.

801.116 Medical devices having commonly known directions.

801.119 In vitro diagnostic products.

801.122 Medical devices for processing, repacking, or manufacturing.

801.125 Medical devices for use in teaching, law enforcement, research,

and analysis.

801.127 Medical devices; expiration of exemptions.

801.128 Exceptions or alternatives to labeling requirements for medical

devices held by the Strategic National Stockpile.

Subpart E_Other Exemptions

801.150 Medical devices; processing, labeling, or repacking.

Subparts F-G [Reserved]

Subpart H_Special Requirements for Specific Devices

801.405 Labeling of articles intended for lay use in the repairing and/

or refitting of dentures.

801.410 Use of impact-resistant lenses in eyeglasses and sunglasses.

801.415 Maximum acceptable level of ozone.

800.417 Chlorofluorocarbon propellants.

801.420 Hearing aid devices; professional and patient labeling.

801.421 Hearing aid devices; conditions for sale.

801.430 User labeling for menstrual tampons.

801.433 Warning statements for prescription and restricted device

products containing

[[Page 16]]

or manufactured with chlorofluorocarbons or other ozone-

depleting substances.

801.435 User labeling for latex condoms.

801.437 User labeling for devices that contain natural rubber.

Authority: 21 U.S.C. 321, 331, 351, 352, 360i, 360j, 371, 374.

Source: 41 FR 6896, Feb. 13, 1976, unless otherwise noted.

Subpart A_General Labeling Provisions

Sec. 801.1  Medical devices; name and place of business of

manufacturer, packer or distributor.

(a) The label of a device in package form shall specify

conspicuously the name and place of business of the manufacturer,

packer, or distributor.

(b) The requirement for declaration of the name of the manufacturer,

packer, or distributor shall be deemed to be satisfied, in the case of a

corporation, only by the actual corporate name which may be preceded or

followed by the name of the particular division of the corporation.

Abbreviations for ``Company,'' ``Incorporated,'' etc., may be used and

``The'' may be omitted. In the case of an individual, partnership, or

association, the name under which the business is conducted shall be

used.

(c) Where a device is not manufactured by the person whose name

appears on the label, the name shall be qualified by a phrase that

reveals the connection such person has with such device; such as,

``Manufactured for ------'', ``Distributed by ----------'', or any other

wording that expresses the facts.

(d) The statement of the place of business shall include the street

address, city, State, and Zip Code; however, the street address may be

omitted if it is shown in a current city directory or telephone

directory. The requirement for inclusion of the ZIP Code shall apply

only to consumer commodity labels developed or revised after the

effective date of this section. In the case of nonconsumer packages, the

ZIP Code shall appear on either the label or the labeling (including the

invoice).

(e) If a person manufactures, packs, or distributes a device at a

place other than his principal place of business, the label may state

the principal place of business in lieu of the actual place where such

device was manufactured or packed or is to be distributed, unless such

statement would be misleading.

Sec. 801.4  Meaning of intended uses.

The words intended uses or words of similar import in Sec. Sec.

801.5, 801.119, and 801.122 refer to the objective intent of the persons

legally responsible for the labeling of devices. The intent is

determined by such persons' expressions or may be shown by the

circumstances surrounding the distribution of the article. This

objective intent may, for example, be shown by labeling claims,

advertising matter, or oral or written statements by such persons or

their representatives. It may be shown by the circumstances that the

article is, with the knowledge of such persons or their representatives,

offered and used for a purpose for which it is neither labeled nor

advertised. The intended uses of an article may change after it has been

introduced into interstate commerce by its manufacturer. If, for

example, a packer, distributor, or seller intends an article for

different uses than those intended by the person from whom he received

the devices, such packer, distributor, or seller is required to supply

adequate labeling in accordance with the new intended uses. But if a

manufacturer knows, or has knowledge of facts that would give him notice

that a device introduced into interstate commerce by him is to be used

for conditions, purposes, or uses other than the ones for which he

offers it, he is required to provide adequate labeling for such a device

which accords with such other uses to which the article is to be put.

Sec. 801.5  Medical devices; adequate directions for use.

Adequate directions for use means directions under which the layman

can use a device safely and for the purposes for which it is intended.

Section 801.4 defines intended use. Directions for use may be inadequate

because, among other reasons, of omission, in whole or in part, or

incorrect specification of:

(a) Statements of all conditions, purposes, or uses for which such

device is

[[Page 17]]

intended, including conditions, purposes, or uses for which it is

prescribed, recommended, or suggested in its oral, written, printed, or

graphic advertising, and conditions, purposes, or uses for which the

device is commonly used; except that such statements shall not refer to

conditions, uses, or purposes for which the device can be safely used

only under the supervision of a practitioner licensed by law and for

which it is advertised solely to such practitioner.

(b) Quantity of dose, including usual quantities for each of the

uses for which it is intended and usual quantities for persons of

different ages and different physical conditions.

(c) Frequency of administration or application.

(d) Duration of administration or application.

(e) Time of administration or application, in relation to time of

meals, time of onset of symptoms, or other time factors.

(f) Route or method of administration or application.

(g) Preparation for use, i.e., adjustment of temperature, or other

manipulation or process.

Sec. 801.6  Medical devices; misleading statements.

Among representations in the labeling of a device which render such

device misbranded is a false or misleading representation with respect

to another device or a drug or food or cosmetic.

Sec. 801.15  Medical devices; prominence of required label statements.

(a) A word, statement, or other information required by or under

authority of the act to appear on the label may lack that prominence and

conspicuousness required by section 502(c) of the act by reason, among

other reasons, of:

(1) The failure of such word, statement, or information to appear on

the part or panel of the label which is presented or displayed under

customary conditions of purchase;

(2) The failure of such word, statement, or information to appear on

two or more parts or panels of the label, each of which has sufficient

space therefor, and each of which is so designed as to render it likely

to be, under customary conditions of purchase, the part or panel

displayed;

(3) The failure of the label to extend over the area of the

container or package available for such extension, so as to provide

sufficient label space for the prominent placing of such word,

statement, or information;

(4) Insufficiency of label space for the prominent placing of such

word, statement, or information, resulting from the use of label space

for any word, statement, design, or device which is not required by or

under authority of the act to appear on the label;

(5) Insufficiency of label space for the placing of such word,

statement, or information, resulting from the use of label space to give

materially greater conspicuousness to any other word, statement, or

information, or to any design or device; or

(6) Smallness or style of type in which such word, statement, or

information appears, insufficient background contrast, obscuring designs

or vignettes, or crowding with other written, printed, or graphic

matter.

(b) No exemption depending on insufficiency of label space, as

prescribed in regulations promulgated under section 502(b) of the act,

shall apply if such insufficiency is caused by:

(1) The use of label space for any word, statement, design, or

device which is not required by or under authority of the act to appear

on the label;

(2) The use of label space to give greater conspicuousness to any

word, statement, or other information than is required by section 502(c)

of the act; or

(3) The use of label space for any representation in a foreign

language.

(c)(1) All words, statements, and other information required by or

under authority of the act to appear on the label or labeling shall

appear thereon in the English language: Provided, however, That in the

case of articles distributed solely in the Commonwealth of Puerto Rico

or in a Territory where the predominant language is one other than

English, the predominant language may be substituted for English.

(2) If the label contains any representation in a foreign language,

all words,

[[Page 18]]

statements, and other information required by or under authority of the

act to appear on the label shall appear thereon in the foreign language.

(3) If the labeling contains any representation in a foreign

language, all words, statements, and other information required by or

under authority of the act to appear on the label or labeling shall

appear on the labeling in the foreign language.

Sec. 801.16  Medical devices; Spanish-language version of certain required statements.

If devices restricted to prescription use only are labeled solely in

Spanish for distribution in the Commonwealth of Puerto Rico where

Spanish is the predominant language, such labeling is authorized under

Sec. 801.15(c).

Subpart B [Reserved]

Subpart C_Labeling Requirements for Over-the-Counter Devices

Sec. 801.60  Principal display panel.

The term principal display panel, as it applies to over-the-counter

devices in package form and as used in this part, means the part of a

label that is most likely to be displayed, presented, shown, or examined

under customary conditions of display for retail sale. The principal

display panel shall be large enough to accommodate all the mandatory

label information required to be placed thereon by this part with

clarity and conspicuousness and without obscuring designs, vignettes, or

crowding. Where packages bear alternate principal display panels,

information required to be placed on the principal display panel shall

be duplicated on each principal display panel. For the purpose of

obtaining uniform type size in declaring the quantity of contents for

all packages of substantially the same size, the term area of the

principal display panel means the area of the side or surface that bears

the principal display panel, which area shall be:

(a) In the case of a rectangular package where one entire side

properly can be considered to be the principal display panel side, the

product of the height times the width of that side;

(b) In the case of a cylindrical or nearly cylindrical container, 40

percent of the product of the height of the container times the

circumference; and

(c) In the case of any other shape of container, 40 percent of the

total surface of the container: Provided, however, That where such

container presents an obvious ``principal display panel'' such as the

top of a triangular or circular package, the area shall consist of the

entire top surface.

In determining the area of the principal display panel, exclude tops,

bottoms, flanges at the tops and bottoms of cans, and shoulders and

necks of bottles or jars. In the case of cylindrical or nearly

cylindrical containers, information required by this part to appear on

the principal display panel shall appear within that 40 percent of the

circumference which is most likely to be displayed, presented, shown, or

examined under customary conditions of display for retail sale.

Sec. 801.61  Statement of identity.

(a) The principal display panel of an over-the-counter device in

package form shall bear as one of its principal features a statement of

the identity of the commodity.

(b) Such statement of identity shall be in terms of the common name

of the device followed by an accurate statement of the principal

intended action(s) of the device. Such statement shall be placed in

direct conjunction with the most prominent display of the name and shall

employ terms descriptive of the principal intended action(s). The

indications for use shall be included in the directions for use of the

device, as required by section 502(f)(1) of the act and by the

regulations in this part.

(c) The statement of identity shall be presented in bold face type

on the principal display panel, shall be in a size reasonably related to

the most prominent printed matter on such panel, and shall be in lines

generally parallel to the base on which the package rests as it is

designed to be displayed.

[[Page 19]]

Sec. 801.62  Declaration of net quantity of contents.

(a) The label of an over-the-counter device in package form shall

bear a declaration of the net quantity of contents. This shall be

expressed in the terms of weight, measure, numerical count, or a

combination of numerical count and weight, measure, or size: Provided,

That:

(1) In the case of a firmly established general consumer usage and

trade custom of declaring the quantity of a device in terms of linear

measure or measure of area, such respective term may be used. Such term

shall be augmented when necessary for accuracy of information by a

statement of the weight, measure, or size of the individual units or of

the entire device.

(2) If the declaration of contents for a device by numerical count

does not give accurate information as to the quantity of the device in

the package, it shall be augmented by such statement of weight, measure,

or size of the individual units or of the total weight, measure, or size

of the device as will give such information; for example, ``100 tongue

depressors, adult size'', ``1 rectal syringe, adult size'', etc.

Whenever the Commissioner determines for a specific packaged device that

an existing practice of declaring net quantity of contents by weight,

measure, numerical count, or a combination of these does not facilitate

value comparisions by consumers, he shall by regulation designate the

appropriate term or terms to be used for such article.

(b) Statements of weight of the contents shall be expressed in terms

of avoirdupois pound and ounce. A statement of liquid measure of the

contents shall be expressed in terms of the U.S. gallon of 231 cubic

inches and quart, pint, and fluid-ounce subdivisions thereof, and shall

express the volume at 68 [deg]F (20 [deg]C). See also paragraph (p) of

this section.

(c) The declaration may contain common or decimal fractions. A

common fraction shall be in terms of halves, quarters, eighths,

sixteenths, or thirty-seconds; except that if there exists a firmly

established, general consumer usage and trade custom of employing

different common fractions in the net quantity declaration of a

particular commodity, they may be employed. A common fraction shall be

reduced to its lowest terms; a decimal fraction shall not be carried out

to more than two places. A statement that includes small fractions of an

ounce shall be deemed to permit smaller variations than one which does

not include such fractions.

(d) The declaration shall be located on the principal display panel

of the label, and with respect to packages bearing alternate principal

panels it shall be duplicated on each principal display panel.

(e) The declaration shall appear as a distinct item on the principal

display panel, shall be separated, by at least a space equal to the

height of the lettering used in the declaration, from other printed

label information appearing above or below the declaration and, by at

least a space equal to twice the width of the letter ``N'' of the style

of type used in the quantity of contents statement, from other printed

label information appearing to the left or right of the declaration. It

shall not include any term qualifying a unit of weight, measure, or

count, such as ``giant pint'' and ``full quart'', that tends to

exaggerate. It shall be placed on the principal display panel within the

bottom 30 percent of the area of the label panel in lines generally

parallel to the base on which the package rests as it is designed to be

displayed: Provided, That:

(1) On packages having a principal display panel of 5 square inches

or less the requirement for placement within the bottom 30 percent of

the area of the label panel shall not apply when the declaration of net

quantity of contents meets the other requirements of this part; and

(2) In the case of a device that is marketed with both outer and

inner retail containers bearing the mandatory label information required

by this part and the inner container is not intended to be sold

separately, the net quantity of contents placement requirement of this

section applicable to such inner container is waived.

(3) The principal display panel of a device marketed on a display

card to

[[Page 20]]

which the immediate container is affixed may be considered to be the

display panel of the card, and the type size of the net quantity of

contents statement is governed by the dimensions of the display card.

(f) The declaration shall accurately reveal the quantity of device

in the package exclusive of wrappers and other material packed

therewith.

(g) The declaration shall appear in conspicuous and easily legible

boldface print or type in distinct contrast (by typography, layout,

color, embossing, or molding) to other matter on the package; except

that a declaration of net quantity blown, embossed, or molded on a glass

or plastic surface is permissible when all label information is so

formed on the surface. Requirements of conspicuousness and legibility

shall include the specifications that:

(1) The ratio of height to width of the letter shall not exceed a

differential of 3 units to 1 unit, i.e., no more than 3 times as high as

it is wide.

(2) Letter heights pertain to upper case or capital letters. When

upper and lower case or all lower case letters are used, it is the lower

case letter ``o'' or its equivalent that shall meet the minimum

standards.

(3) When fractions are used, each component numeral shall meet one-

half the minimum height standards.

(h) The declaration shall be in letters and numerals in a type size

established in relationship to the area of the principal display panel

of the package and shall be uniform for all packages of substantially

the same size by complying with the following type specifications:

(1) Not less than one-sixteenth inch in height on packages the

principal display panel of which has an area of 5 square inches or less.

(2) Not less than one-eighth inch in height on packages the

principal display panel of which has an area of more than 5 but not more

than 25 square inches.

(3) Not less than three-sixteenths inch in height on packages the

principal display panel of which has an area of more than 25 but not

more than 100 square inches.

(4) Not less than one-fourth inch in height on packages the

principal display panel of which has an area of more than 100 square

inches, except not less than one-half inch in height if the area is more

than 400 square inches.

Where the declaration is blown, embossed, or molded on a glass or

plastic surface rather than by printing, typing, or coloring, the

lettering sizes specified in paragraphs (h)(1) through (4) of this

section shall be increased by one-sixteenth of an inch.

(i) On packages containing less than 4 pounds or 1 gallon and

labeled in terms of weight or fluid measure:

(1) The declaration shall be expressed both in ounces, with

identification by weight or by liquid measure and, if applicable (1

pound or 1 pint or more) followed in parentheses by a declaration in

pounds for weight units, with any remainder in terms of ounces or common

or decimal fractions of the pound (see examples set forth in paragraphs

(k) (1) and (2) of this section), or in the case of liquid measure, in

the largest whole units (quarts, quarts and pints, or pints, as

appropriate) with any remainder in terms of fluid ounces or common or

decimal fractions of the pint or quart (see examples set forth in

paragraphs (k) (3) and (4) of this section). If the net weight of the

package is less than 1 ounce avoirdupois or the net fluid measure is

less than 1 fluid ounce, the declaration shall be in terms of common or

decimal fractions of the respective ounce and not in terms of drams.

(2) The declaration may appear in more than one line. The term ``net

weight'' shall be used when stating the net quantity of contents in

terms of weight. Use of the terms ``net'' or ``net contents'' in terms

of fluid measure or numerical count is optional. It is sufficient to

distinguish avoirdupois ounce from fluid ounce through association of

terms; for example, ``Net wt. 6 oz'' or ``6 oz net wt.,'' and ``6 fl

oz'' or ``net contents 6 fl oz.''

(j) On packages containing 4 pounds or 1 gallon or more and labeled

in terms of weight or fluid measure, the declaration shall be expressed

in pounds for weight units with any remainder in terms of ounces or

common or decimal fractions of the pound; in the case of fluid measure,

it shall be expressed in the largest whole unit,

[[Page 21]]

i.e., gallons, followed by common or decimal fractions of a gallon or by

the next smaller whole unit or units (quarts or quarts and pints), with

any remainder in terms of fluid ounces or common or decimal fractions of

the pint or quart; see paragraph (k)(5) of this section.

(k) Examples: (1) A declaration of 1\1/2\ pounds weight shall be

expressed as ``net wt. 24 oz (1 lb 8 oz),'' or ``Net wt. 24 oz (1\1/2\

lb)'' or ``Net wt. 24 oz (1.5 lb).''

(2) A declaration of three-fourths pound avoirdupois weight shall be

expressed as ``Net wt. 12 oz.''.

(3) A declaration of 1 quart liquid measure shall be expressed as

``Net contents 32 fl oz (1 qt)'' or ``32 fl oz (1 qt).''

(4) A declaration of 1\3/4\ quarts liquid measure shall be expressed

as, ``Net contents 56 fl oz (1 qt 1 pt 8 oz)'' or ``Net contents 56 fl

oz (1 qt 1.5 pt),'' but not in terms of quart and ounce such as ``Net

contents 56 fl oz (1 qt 24 oz).''

(5) A declaration of 2\1/2\ gallons liquid measure shall be

expressed as ``Net contents 2 gal 2 qt'', ``Net contents 2.5 gallons,''

or ``Net contents 2\1/2\ gal'' but not as ``2 gal 4 pt''.

(l) For quantities, the following abbreviations and none other may

be employed. Periods and plural forms are optional:

gallon gal                            liter l

milliliter ml                         cubic centimeter cc

quart qt                              yard yd

pint pt                               feet or foot ft

ounce oz                              inch in

pound lb                              meter m

grain gr                              centimeter cm

kilogram kg                           millimeter mm

gram g                                fluid fl

milligram mg                          square sq

microgram mcg                         weight wt

(m) On packages labeled in terms of linear measure, the declaration

shall be expressed both in terms of inches and, if applicable (1 foot or

more), the largest whole units (yards, yards and feet, feet). The

declaration in terms of the largest whole units shall be in parentheses

following the declaration in terms of inches and any remainder shall be

in terms of inches or common or decimal fractions of the foot or yard;

if applicable, as in the case of adhesive tape, the initial declaration

in linear inches shall be preceded by a statement of the width. Examples

of linear measure are ``86 inches (2 yd 1 ft 2 in)'', ``90 inches (2\1/

2\ yd)'', ``30 inches (2.5 ft)'', ``\3/4\ inch by 36 in (1 yd)'', etc.

(n) On packages labeled in terms of area measure, the declaration

shall be expressed both in terms of square inches and, if applicable (1

square foot or more), the largest whole square unit (square yards,

square yards and square feet, square feet). The declaration in terms of

the largest whole units shall be in parentheses following the

declaration in terms of square inches and any remainder shall be in

terms of square inches or common or decimal fractions of the square foot

or square yard; for example, ``158 sq inches (1 sq ft 14 sq in)''.

(o) Nothing in this section shall prohibit supplemental statements

at locations other than the principal display panel(s) describing in

nondeceptive terms the net quantity of contents, provided that such

supplemental statements of net quantity of contents shall not include

any term qualifying a unit of weight, measure, or count that tends to

exaggerate the amount of the device contained in the package; for

example, ``giant pint'' and ``full quart''. Dual or combination

declarations of net quantity of contents as provided for in paragraphs

(a) and (i) of this section are not regarded as supplemental net

quantity statements and shall be located on the principal display panel.

(p) A separate statement of net quantity of contents in terms of the

metric system of weight or measure is not regarded as a supplemental

statement and an accurate statement of the net quantity of contents in

terms of the metric system of weight or measure may also appear on the

principal display panel or on other panels.

(q) The declaration of net quantity of contents shall express an

accurate statement of the quantity of contents of the package.

Reasonable variations caused by loss or gain of moisture during the

course of good distribution practice or by unavoidable deviations in

good manufacturing practice will be recognized. Variations from stated

quantity of contents shall not be unreasonably large.

[[Page 22]]

Sec. 801.63  Medical devices; warning statements for devices containing

or manufactured with chlorofluorocarbons and other class I

ozone-depleting substances.

(a) All over-the-counter devices containing or manufactured with

chlorofluorocarbons, halons, carbon tetrachloride, methyl chloride, or

any other class I substance designated by the Environmental Protection

Agency (EPA) shall carry one of the following warnings:

(1) The EPA warning statement:

Warning: Contains [or Manufactured with, if applicable] [insert name

of substance], a substance which harms public health and environment by

destroying ozone in the upper atmosphere.

(2) The alternative statement:

Note: The indented statement below is required by the Federal

government's Clean Air Act for all products containing or manufactured

with chlorofluorocarbons (CFC's) [or other class I substance, if

applicable]:

Warning: Contains [or Manufactured with, if applicable] [insert name

of substance], a substance which harms public health and environment by

destroying ozone in the upper atmosphere.

CONSULT WITH YOUR PHYSICIAN, HEALTH PROFESSIONAL, OR SUPPLIER IF YOU

HAVE ANY QUESTION ABOUT THE USE OF THIS PRODUCT.

(b) The warning statement shall be clearly legible and conspicuous

on the product, its immediate container, its outer packaging, or other

labeling in accordance with the requirements of 40 CFR part 82 and

appear with such prominence and conspicuousness as to render it likely

to be read and understood by consumers under normal conditions of

purchase. This provision does not replace or relieve a person from any

requirements imposed under 40 CFR part 82.

[61 FR 20101, May 3, 1996]

Subpart D_Exemptions From Adequate Directions for Use

Sec. 801.109  Prescription devices.

A device which, because of any potentiality for harmful effect, or

the method of its use, or the collateral measures necessary to its use

is not safe except under the supervision of a practitioner licensed by

law to direct the use of such device, and hence for which ``adequate

directions for use'' cannot be prepared, shall be exempt from section

502(f)(1) of the act if all the following conditions are met:

(a) The device is:

(1)(i) In the possession of a person, or his agents or employees,

regularly and lawfully engaged in the manufacture, transportation,

storage, or wholesale or retail distribution of such device; or

(ii) In the possession of a practitioner, such as physicians,

dentists, and veterinarians, licensed by law to use or order the use of

such device; and

(2) Is to be sold only to or on the prescription or other order of

such practitioner for use in the course of his professional practice.

(b) The label of the device, other than surgical instruments, bears:

(1) The statement ``Caution: Federal law restricts this device to

sale by or on the order of a --------'', the blank to be filled with the

word ``physician'', ``dentist'', ``veterinarian'', or with the

descriptive designation of any other practitioner licensed by the law of

the State in which he practices to use or order the use of the device;

and

(2) The method of its application or use.

(c) Labeling on or within the package from which the device is to be

dispensed bears information for use, including indications, effects,

routes, methods, and frequency and duration of administration, and any

relevant hazards, contraindications, side effects, and precautions under

which practitioners licensed by law to administer the device can use the

device safely and for the purpose for which it is intended, including

all purposes for which it is advertised or represented: Provided,

however, That such information may be omitted from the dispensing

package if, but only if, the article is a device for which directions,

hazards, warnings, and other information are commonly known to

practitioners licensed by law to use the device. Upon written request,

stating reasonable grounds therefor, the Commissioner will offer an

opinion on a proposal to omit such information from the dispensing

package under this proviso.

[[Page 23]]

(d) Any labeling, as defined in section 201(m) of the act, whether

or not it is on or within a package from which the device is to be

dispensed, distributed by or on behalf of the manufacturer, packer, or

distributor of the device, that furnishes or purports to furnish

information for use of the device contains adequate information for such

use, including indications, effects, routes, methods, and frequency and

duration of administration and any relevant hazards, contraindications,

side effects, and precautions, under which practitioners licensed by law

to employ the device can use the device safely and for the purposes for

which it is intended, including all purposes for which it is advertised

or represented. This information will not be required on so-called

reminder--piece labeling which calls attention to the name of the device

but does not include indications or other use information.

(e) All labeling, except labels and cartons, bearing information for

use of the device also bears the date of the issuance or the date of the

latest revision of such labeling.

Sec. 801.110  Retail exemption for prescription devices.

A device subject to Sec. 801.109 shall be exempt at the time of

delivery to the ultimate purchaser or user from section 502(f)(1) of the

act if it is delivered by a licensed practitioner in the course of his

professional practice or upon a prescription or other order lawfully

issued in the course of his professional practice, with labeling bearing

the name and address of such licensed practitioner and the directions

for use and cautionary statements, if any, contained in such order.

Sec. 801.116  Medical devices having commonly known directions.

A device shall be exempt from section 502(f)(1) of the act insofar

as adequate directions for common uses thereof are known to the ordinary

individual.

Sec. 801.119  In vitro diagnostic products.

A product intended for use in the diagnosis of disease and which is

an in vitro diagnostic product as defined in Sec. 809.3(a) of this

chapter shall be deemed to be in compliance with the requirements of

this section and section 502(f)(1) of the act if it meets the

requirements of Sec. 809.10 of this chapter.

Sec. 801.122  Medical devices for processing, repacking, or manufacturing.

A device intended for processing, repacking, or use in the

manufacture of another drug or device shall be exempt from section

502(f)(1) of the act if its label bears the statement ``Caution: For

manufacturing, processing, or repacking''.

Sec. 801.125  Medical devices for use in teaching, law enforcement, research, and analysis.

A device subject to Sec. 801.109 shall be exempt from section

502(f)(1) of this act if shipped or sold to, or in the possession of,

persons regularly and lawfully engaged in instruction in pharmacy,

chemistry, or medicine not involving clinical use, or engaged in law

enforcement, or in research not involving clinical use, or in chemical

analysis, or physical testing, and is to be used only for such

instruction, law enforcement, research, analysis, or testing.

Sec. 801.127  Medical devices; expiration of exemptions.

(a) If a shipment or delivery, or any part thereof, of a device

which is exempt under the regulations in this section is made to a

person in whose possession the article is not exempt, or is made for any

purpose other than those specified, such exemption shall expire, with

respect to such shipment or delivery or part thereof, at the beginning

of that shipment or delivery. The causing of an exemption to expire

shall be considered an act which results in such device being misbranded

unless it is disposed of under circumstances in which it ceases to be a

drug or device.

(b) The exemptions conferred by Sec. Sec. 801.119, 801.122, and

801.125 shall continue until the devices are used for the purposes for

which they are exempted, or until they are relabeled to comply with

section 502(f)(1) of the act. If, however, the device is converted, or

manufactured into a form limited to prescription dispensing, no

exemption

[[Page 24]]

shall thereafter apply to the article unless the device is labeled as

required by Sec. 801.109.

Sec. 801.128  Exceptions or alternatives to labeling requirements for medical devices held by the Strategic National Stockpile.

(a) The appropriate FDA Center Director may grant an exception or

alternative to any provision listed in paragraph (f) of this section and

not explicitly required by statute, for specified lots, batches, or

other units of a medical device, if the Center Director determines that

compliance with such labeling requirement could adversely affect the

safety, effectiveness, or availability of such devices that are or will

be included in the Strategic National Stockpile.

(b)(1)(i) A Strategic National Stockpile official or any entity that

manufactures (including labeling, packing, relabeling, or repackaging),

distributes, or stores devices that are or will be included in the

Strategic National Stockpile may submit, with written concurrence from a

Strategic National Stockpile official, a written request for an

exception or alternative described in paragraph (a) of this section to

the Center Director.

(ii) The Center Director may grant an exception or alternative

described in paragraph (a) of this section on his or her own initiative.

(2) A written request for an exception or alternative described in

paragraph (a) of this section must:

(i) Identify the specified lots, batches, or other units of the

medical device that would be subject to the exception or alternative;

(ii) Identify the labeling provision(s) listed in paragraph (f) of

this section that are the subject of the exception or alternative

request;

(iii) Explain why compliance with the labeling provision(s) could

adversely affect the safety, effectiveness, or availability of the

specified lots, batches, or other units of a medical device that are or

will be held in the Strategic National Stockpile;

(iv) Describe any proposed safeguards or conditions that will be

implemented so that the labeling of the device includes appropriate

information necessary for the safe and effective use of the device,

given the anticipated circumstances of use of the device;

(v) Provide a draft of the proposed labeling of the specified lots,

batches, or other units of the medical device subject to the exception

or alternative; and

(vi) Provide any other information requested by the Center Director

in support of the request.

(c) The Center Director must respond in writing to all requests

under this section. The Center Director may impose appropriate

conditions when granting such an exception or alternative under this

section.

(d) A grant of an exception or alternative under this section will

include any safeguards or conditions deemed appropriate by the Center

Director so that the labeling of devices subject to the exception or

alternative includes the information necessary for the safe and

effective use of the device, given the anticipated circumstances of use.

(e) If the Center Director grants a request for an exception or

alternative to the labeling requirements under this section:

(1) The Center Director may determine that the submission and grant

of a written request under this section satisfies the provisions

relating to premarket notification submissions under Sec. 807.81(a)(3)

of this chapter.

(2)(i) For a Premarket Approval Application (PMA)-approved device,

the submission and grant of a written request under this section

satisfies the provisions relating to submission of PMA supplements under

Sec. 814.39 of this chapter; however,

(ii) The grant of the request must be identified in a periodic

report under Sec. 814.84 of this chapter.

(f) The Center Director may grant an exception or alternative under

this section to the following provisions of this chapter, to the extent

that the requirements in these provisions are not explicitly required by

statute:

(1) Sec. 801.1(d);

(2) Sec. 801.60;

(3) Sec. 801.61;

(4) Sec. 801.62;

(5) Sec. 801.63;

(6) Sec. 801.109; and

[[Page 25]]

(7) Part 801, subpart H.

[72 FR 73601, Dec. 28, 2007]

Subpart E_Other Exemptions

Sec. 801.150  Medical devices; processing, labeling, or repacking.

(a) Except as provided by paragraphs (b) and (c) of this section, a

shipment or other delivery of a device which is, in accordance with the

practice of the trade, to be processed, labeled, or repacked, in

substantial quantity at an establishment other than that where

originally processed or packed, shall be exempt, during the time of

introduction into and movement in interstate commerce and the time of

holding in such establishment, from compliance with the labeling and

packaging requirements of section 502(b) and (f) of the act if:

(1) The person who introduced such shipment or delivery into

interstate commerce is the operator of the establishment where such

device is to be processed, labeled, or repacked; or

(2) In case such person is not such operator, such shipment or

delivery is made to such establishment under a written agreement, signed

by and containing the post office addresses of such person and such

operator, and containing such specifications for the processing,

labeling, or repacking, as the case may be, of such device in such

establishment as will insure, if such specifications are followed, that

such device will not be adulterated or misbranded within the meaning of

the act upon completion of such processing, labeling, or repacking. Such

person and such operator shall each keep a copy of such agreement until

2 years after the final shipment or delivery of such device from such

establishment, and shall make such copies available for inspection at

any reasonable hour to any officer or employee of the Department who

requests them.

(b) An exemption of a shipment or other delivery of a device under

paragraph (a)(1) of this section shall, at the beginning of the act of

removing such shipment or delivery, or any part thereof, from such

establishment, become void ab initio if the device comprising such

shipment, delivery, or part is adulterated or misbranded within the

meaning of the act when so removed.

(c) An exemption of a shipment or other delivery of a device under

paragraph (a)(2) of this section shall become void ab initio with

respect to the person who introduced such shipment or delivery into

interstate commerce upon refusal by such person to make available for

inspection a copy of the agreement, as required by such paragraph

(a)(2).

(d) An exemption of a shipment or other delivery of a device under

paragraph (a)(2) of this section shall expire:

(1) At the beginning of the act of removing such shipment or

delivery, or any part thereof, from such establishment if the device

comprising such shipment, delivery, or part is adulterated or misbranded

within the meaning of the act when so removed; or

(2) Upon refusal by the operator of the establishment where such

device is to be processed, labeled, or repacked, to make available for

inspection a copy of the agreement, as required by such clause.

(e) As it is a common industry practice to manufacture and/or

assemble, package, and fully label a device as sterile at one

establishment and then ship such device in interstate commerce to

another establishment or to a contract sterilizer for sterilization, the

Food and Drug Administration will initiate no regulatory action against

the device as misbranded or adulterated when the nonsterile device is

labeled sterile, provided all the following conditions are met:

(1) There is in effect a written agreement which:

(i) Contains the names and post office addresses of the firms

involved and is signed by the person authorizing such shipment and the

operator or person in charge of the establishment receiving the devices

for sterilization.

(ii) Provides instructions for maintaining proper records or

otherwise accounting for the number of units in each shipment to insure

that the number of units shipped is the same as the number received and

sterilized.

(iii) Acknowledges that the device is nonsterile and is being

shipped for further processing, and

[[Page 26]]

(iv) States in detail the sterilization process, the gaseous mixture

or other media, the equipment, and the testing method or quality

controls to be used by the contract sterilizer to assure that the device

will be brought into full compliance with the Federal Food, Drug, and

Cosmetic Act.

(2) Each pallet, carton, or other designated unit is conspicuously

marked to show its nonsterile nature when it is introduced into and is

moving in interstate commerce, and while it is being held prior to

sterilization. Following sterilization, and until such time as it is

established that the device is sterile and can be released from

quarantine, each pallet, carton, or other designated unit is

conspicuously marked to show that it has not been released from

quarantine, e.g., ``sterilized--awaiting test results'' or an equivalent

designation.

Subparts F-G [Reserved]

Subpart H_Special Requirements for Specific Devices

Sec. 801.405  Labeling of articles intended for lay use in the

repairing and/or refitting of dentures.

(a) The American Dental Association and leading dental authorities

have advised the Food and Drug Administration of their concern regarding

the safety of denture reliners, repair kits, pads, cushions, and other

articles marketed and labeled for lay use in the repairing, refitting,

or cushioning of ill-fitting, broken, or irritating dentures. It is the

opinion of dental authorities and the Food and Drug Administration that

to properly repair and properly refit dentures a person must have

professional knowledge and specialized technical skill. Laymen cannot be

expected to maintain the original vertical dimension of occlusion and

the centric relation essential in the proper repairing or refitting of

dentures. The continued wearing of improperly repaired or refitted

dentures may cause acceleration of bone resorption, soft tissue

hyperplasia, and other irreparable damage to the oral cavity. Such

articles designed for lay use should be limited to emergency or

temporary situations pending the services of a licensed dentist.

(b) The Food and Drug Administration therefore regards such articles

as unsafe and misbranded under the Federal Food, Drug, and Cosmetic Act,

unless the labeling:

(1)(i) Limits directions for use for denture repair kits to

emergency repairing pending unavoidable delay in obtaining professional

reconstruction of the denture;

(ii) Limits directions for use for denture reliners, pads, and

cushions to temporary refitting pending unavoidable delay in obtaining

professional reconstruction of the denture;

(2) Contains in a conspicuous manner the word ``emergency''

preceding and modifying each indication-for-use statement for denture

repair kits and the word ``temporary'' preceding and modifying each

indication-for-use statement for reliners, pads, and cushions; and

(3) Includes a conspicuous warning statement to the effect:

(i) For denture repair kits: ``Warning--For emergency repairs only.

Long term use of home-repaired dentures may cause faster bone loss,

continuing irritation, sores, and tumors. This kit for emergency use

only. See Dentist Without Delay.''

(ii) For denture reliners, pads, and cushions: ``Warning--For

temporary use only. Longterm use of this product may lead to faster bone

loss, continuing irritation, sores, and tumors. For Use Only Until a

Dentist Can Be Seen.''

(c) Adequate directions for use require full information of the

temporary and emergency use recommended in order for the layman to

understand the limitations of usefulness, the reasons therefor, and the

importance of adhering to the warnings. Accordingly, the labeling should

contain substantially the following information:

(1) For denture repair kits: Special training and tools are needed

to repair dentures to fit properly. Home-repaired dentures may cause

irritation to the gums and discomfort and tiredness while eating. Long

term use may lead to more troubles, even permanent changes in bones,

teeth, and gums, which may make it impossible to wear

[[Page 27]]

dentures in the future. For these reasons, dentures repaired with this

kit should be used only in an emergency until a dentist can be seen.

Dentures that don't fit properly cause irritation and injury to the gums

and faster bone loss, which is permanent. Dentures that don't fit

properly cause gum changes that may require surgery for correction.

Continuing irritation and injury may lead to cancer in the mouth. You

must see your dentist as soon as possible.

(2) For denture reliners, pads, and cushions: Use of these

preparations or devices may temporarily decrease the discomfort;

however, their use will not make the denture fit properly. Special

training and tools are needed to repair a denture to fit properly.

Dentures that do not fit properly cause irritation and injury to the

gums and faster bone loss, which is permanent and may require a

completely new denture. Changes in the gums caused by dentures that do

not fit properly may require surgery for correction. Continuing

irritation and injury may lead to cancer in the mouth. You must see your

dentist as soon as possible.

(3) If the denture relining or repairing material forms a permanent

bond with the denture, a warning statement to the following effect

should be included: ``This reliner becomes fixed to the denture and a

completely new denture may be required because of its use.''

(d) Labeling claims exaggerating the usefulness or the safety of the

material or failing to disclose all facts relevant to the claims of

usefulness will be regarded as false and misleading under sections

201(n) and 502(a) of the Federal Food, Drug, and Cosmetic Act.

(e) Regulatory action may be initiated with respect to any article

found within the jurisdiction of the act contrary to the provisions of

this policy statement after 90 days following the date of publication of

this section in the Federal Register.

Sec. 801.410  Use of impact-resistant lenses in eyeglasses and

sunglasses.

(a) Examination of data available on the frequency of eye injuries

resulting from the shattering of ordinary crown glass lenses indicates

that the use of such lenses constitutes an avoidable hazard to the eye

of the wearer.

(b) The consensus of the ophthalmic community is that the number of

eye injuries would be substantially reduced by the use in eyeglasses and

sunglasses of impact-resistant lenses.

(c)(1) To protect the public more adequately from potential eye

injury, eyeglasses and sunglasses must be fitted with impact-resistant

lenses, except in those cases where the physician or optometrist finds

that such lenses will not fulfill the visual requirements of the

particular patient, directs in writing the use of other lenses, and

gives written notification thereof to the patient.

(2) The physician or optometrist shall have the option of ordering

glass lenses, plastic lenses, or laminated glass lenses made impact

resistant by any method; however, all such lenses shall be capable of

withstanding the impact test described in paragraph (d)(2) of this

section.

(3) Each finished impact-resistant glass lens for prescription use

shall be individually tested for impact resistance and shall be capable

of withstanding the impact test described in paragraph (d)(2) of this

section. Raised multifocal lenses shall be impact resistant but need not

be tested beyond initial design testing. Prism segment multifocal, slab-

off prism, lenticular cataract, iseikonic, depressed segment one-piece

multifocal, bioconcave, myodisc and minus lenticular, custom laminate

and cemented assembly lenses shall be impact resistant but need not be

subjected to impact testing. To demonstrate that all other types of

impact-resistant lenses, including impact-resistant laminated glass

lenses (i.e., lenses other than those described in the three preceding

sentences of this paragraph (c)(3)), are capable of withstanding the

impact test described in this regulation, the manufacturer of these

lenses shall subject to an impact test a statistically significant

sampling of lenses from each production batch, and the lenses so tested

shall be representative of the finished forms as worn by the wearer,

including finished forms that are of minimal lens thickness and have

been

[[Page 28]]

subjected to any treatment used to impart impact resistance. All

nonprescription lenses and plastic prescription lenses tested on the

basis of statistical significance shall be tested in uncut-finished or

finished form.

(d)(1) For the purpose of this regulation, the impact test described

in paragraph (d)(2) of this section shall be the ``referee test,''

defined as ``one which will be utilized to determine compliance with a

regulation.'' The referee test provides the Food and Drug Administration

with the means of examining a medical device for performance and does

not inhibit the manufacturer from using equal or superior test methods.

A lens manufacturer shall conduct tests of lenses using the impact test

described in paragraph (d)(2) of this section or any equal or superior

test. Whatever test is used, the lenses shall be capable of withstanding

the impact test described in paragraph (d)(2) of this section if the

Food and Drug Administration examines them for performance.

(2) In the impact test, a \5/8\-inch steel ball weighing

approximately 0.56 ounce is dropped from a height of 50 inches upon the

horizontal upper surface of the lens. The ball shall strike within a \5/

8\-inch diameter circle located at the geometric center of the lens. The

ball may be guided but not restricted in its fall by being dropped

through a tube extending to within approximately 4 inches of the lens.

To pass the test, the lens must not fracture; for the purpose of this

section, a lens will be considered to have fractured if it cracks

through its entire thickness, including a laminar layer, if any, and

across a complete diameter into two or more separate pieces, or if any

lens material visible to the naked eyes becomes detached from the ocular

surface. The test shall be conducted with the lens supported by a tube

(1-inch inside diameter, 1\1/4\-inch outside diameter, and approximately

1-inch high) affixed to a rigid iron or steel base plate. The total

weight of the base plate and its rigidly attached fixtures shall be not

less than 27 pounds. For lenses of small minimum diameter, a support

tube having an outside diameter of less than 1\1/4\ inches may be used.

The support tube shall be made of rigid acrylic plastic, steel, or other

suitable substance and shall have securely bonded on the top edge a \1/

8\- by \1/8\-inch neoprene gasket having a hardness of 40 <plus-

minus<ls-thn-eq>5, as determined by ASTM Method D 1415-88, ``Standard

Test Method for Rubber Property--International Hardness'' a minimum

tensile strength of 1,200 pounds, as determined by ASTM Method D 412-

98A, ``Standard Test Methods for Vulcanized Rubber and Thermoplastic

Elastomers--Tension,'' and a minimum ultimate elongation of 400 percent,

as determined by ASTM Method D 412-68 (Both methods are incorporated by

reference and are available from the American Society for Testing

Materials, 100 Barr Harbor Dr., West Conshohocken, Philadelphia, PA

19428, or available for inspection at the Center for Devices and

Radiological Health's Library, 9200 Corporate Blvd., Rockville, MD

20850, or at the National Archives and Records Administration (NARA).

For information on the availability of this material at NARA, call 202-

741-6030, or go to: http://www.archives.gov/federal--register/code--of--

federal--regulations/ibr--locations.html. The diameter or contour of the

lens support may be modified as necessary so that the \1/8\- by \1/8\-

inch neoprene gasket supports the lens at its periphery.

(e) Copies of invoice(s), shipping document(s), and records of sale

or distribution of all impact resistant lenses, including finished

eyeglasses and sunglasses, shall be kept and maintained for a period of

3 years; however, the names and addresses of individuals purchasing

nonprescription eyeglasses and sunglasses at the retail level need not

be kept and maintained by the retailer. The records kept in compliance

with this paragraph shall be made available upon request at all

reasonable hours by any officer or employee of the Food and Drug

Administration or by any other officer or employee acting on behalf of

the Secretary of Health and Human Services and such officer or employee

shall be permitted to inspect and copy such records, to make such

inventories of stock as he deems necessary, and otherwise to check the

correctness of such inventories.

[[Page 29]]

(f) In addition, those persons conducting tests in accordance with

paragraph (d) of this section shall maintain the results thereof and a

description of the test method and of the test apparatus for a period of

3 years. These records shall be made available upon request at any

reasonable hour by any officer or employee acting on behalf of the

Secretary of Health and Human Services. The persons conducting tests

shall permit the officer or employee to inspect and copy the records, to

make such inventories of stock as the officer or employee deems

necessary, and otherwise to check the correctness of the inventories.

(g) For the purpose of this section, the term ``manufacturer''

includes an importer for resale. Such importer may have the tests

required by paragraph (d) of this section conducted in the country of

origin but must make the results thereof available, upon request, to the

Food and Drug Administration, as soon as practicable.

(h) All lenses must be impact-resistant except when the physician or

optometrist finds that impact-resistant lenses will not fulfill the

visual requirements for a particular patient.

(i) This statement of policy does not apply to contact lenses.

[41 FR 6896, Feb. 13, 1976, as amended at 44 FR 20678, Apr. 6, 1979; 47

FR 9397, Mar. 5, 1982; 65 FR 3586, Jan. 24, 2000; 65 FR 44436, July 18,

2000; 69 FR 18803, Apr. 9, 2004]

Sec. 801.415  Maximum acceptable level of ozone.

(a) Ozone is a toxic gas with no known useful medical application in

specific, adjunctive, or preventive therapy. In order for ozone to be

effective as a germicide, it must be present in a concentration far

greater than that which can be safely tolerated by man and animals.

(b) Although undesirable physiological effects on the central

nervous system, heart, and vision have been reported, the predominant

physiological effect of ozone is primary irritation of the mucous

membranes. Inhalation of ozone can cause sufficient irritation to the

lungs to result in pulmonary edema. The onset of pulmonary edema is

usually delayed for some hours after exposure; thus, symptomatic

response is not a reliable warning of exposure to toxic concentrations

of ozone. Since olfactory fatigue develops readily, the odor of ozone is

not a reliable index of atmospheric ozone concentration.

(c) A number of devices currently on the market generate ozone by

design or as a byproduct. Since exposure to ozone above a certain

concentration can be injurious to health, any such device will be

considered adulterated and/or misbranded within the meaning of sections

501 and 502 of the act if it is used or intended for use under the

following conditions:

(1) In such a manner that it generates ozone at a level in excess of

0.05 part per million by volume of air circulating through the device or

causes an accumulation of ozone in excess of 0.05 part per million by

volume of air (when measured under standard conditions at 25 [deg]C (77

[deg]F) and 760 millimeters of mercury) in the atmosphere of enclosed

space intended to be occupied by people for extended periods of time,

e.g., houses, apartments, hospitals, and offices. This applies to any

such device, whether portable or permanent or part of any system, which

generates ozone by design or as an inadvertent or incidental product.

(2) To generate ozone and release it into the atmosphere in

hospitals or other establishments occupied by the ill or infirm.

(3) To generate ozone and release it into the atmosphere and does

not indicate in its labeling the maximum acceptable concentration of

ozone which may be generated (not to exceed 0.05 part per million by

volume of air circulating through the device) as established herein and

the smallest area in which such device can be used so as not to produce

an ozone accumulation in excess of 0.05 part per million.

(4) In any medical condition for which there is no proof of safety

and effectiveness.

(5) To generate ozone at a level less than 0.05 part per million by

volume of air circulating through the device and it is labeled for use

as a germicide or deodorizer.

(d) This section does not affect the present threshold limit value

of 0.10 part per million (0.2 milligram per cubic meter) of ozone

exposure for an 8-

[[Page 30]]

hour-day exposure of industrial workers as recommended by the American

Conference of Governmental Industrial Hygienists.

(e) The method and apparatus specified in 40 CFR part 50, or any

other equally sensitive and accurate method, may be employed in

measuring ozone pursuant to this section.

Sec. 801.417  Chlorofluorocarbon propellants.

The use of chlorofluorocarbon in devices as propellants in self-

pressurized containers is generally prohibited except as provided in

Sec. 2.125 of this chapter.

[43 FR 11318, Mar. 17, 1978]

Sec. 801.420  Hearing aid devices; professional and patient labeling.

(a) Definitions for the purposes of this section and Sec. 801.421.

(1) Hearing aid means any wearable instrument or device designed for,

offered for the purpose of, or represented as aiding persons with or

compensating for, impaired hearing.

(2) Ear specialist means any licensed physician who specializes in

diseases of the ear and is medically trained to identify the symptoms of

deafness in the context of the total health of the patient, and is

qualified by special training to diagnose and treat hearing loss. Such

physicians are also known as otolaryngologists, otologists, and

otorhinolaryngologists.

(3) Dispenser means any person, partnership, corporation, or

association engaged in the sale, lease, or rental of hearing aids to any

member of the consuming public or any employee, agent, sales person,

and/or representative of such a person, partnership, corporation, or

association.

(4) Audiologist means any person qualified by training and

experience to specialize in the evaluation and rehabilitation of

individuals whose communication disorders center in whole or in part in

the hearing function. In some states audiologists must satisfy specific

requirements for licensure.

(5) Sale or purchase includes any lease or rental of a hearing aid

to a member of the consuming public who is a user or prospective user of

a hearing aid.

(6) Used hearing aid means any hearing aid that has been worn for

any period of time by a user. However, a hearing aid shall not be

considered ``used'' merely because it has been worn by a prospective

user as a part of a bona fide hearing aid evaluation conducted to

determine whether to select that particular hearing aid for that

prospective user, if such evaluation has been conducted in the presence

of the dispenser or a hearing aid health professional selected by the

dispenser to assist the buyer in making such a determination.

(b) Label requirements for hearing aids. Hearing aids shall be

clearly and permanently marked with:

(1) The name of the manufacturer or distributor, the model name or

number, the serial number, and the year of manufacture.

(2) A ``+'' symbol to indicate the positive connection for battery

insertion, unless it is physically impossible to insert the battery in

the reversed position.

(c) Labeling requirements for hearing aids--(1) General. All

labeling information required by this paragraph shall be included in a

User Instructional Brochure that shall be developed by the manufacturer

or distributor, shall accompany the hearing aid, and shall be provided

to the prospective user by the dispenser of the hearing aid in

accordance with Sec. 801.421(c). The User Instructional Brochure

accompanying each hearing aid shall contain the following information

and instructions for use, to the extent applicable to the particular

requirements and characteristics of the hearing aid:

(i) An illustration(s) of the hearing aid, indicating operating

controls, user adjustments, and battery compartment.

(ii) Information on the function of all controls intended for user

adjustment.

(iii) A description of any accessory that may accompany the hearing

aid, e.g., accessories for use with a television or telephone.

(iv) Specific instructions for:

(a) Use of the hearing aid.

(b) Maintenance and care of the hearing aid, including the procedure

to follow in washing the earmold, when replacing tubing on those hearing

aids that use tubing, and in storing the

[[Page 31]]

hearing aid when it will not be used for an extended period of time.

(c) Replacing or recharging the batteries, including a generic

designation of replacement batteries.

(v) Information on how and where to obtain repair service, including

at least one specific address where the user can go, or send the hearing

aid to, to obtain such repair service.

(vi) A description of commonly occurring avoidable conditions that

could adversely affect or damage the hearing aid, such as dropping,

immersing, or exposing the hearing aid to excessive heat.

(vii) Identification of any known side effects associated with the

use of a hearing aid that may warrant consultation with a physician,

e.g., skin irritation and accelerated accumulation of cerumen (ear wax).

(viii) A statement that a hearing aid will not restore normal

hearing and will not prevent or improve a hearing impairment resulting

from organic conditions.

(ix) A statement that in most cases infrequent use of a hearing aid

does not permit a user to attain full benefit from it.

(x) A statement that the use of a hearing aid is only part of

hearing habilitation and may need to be supplemented by auditory

training and instruction in lipreading.

(xi) The warning statement required by paragraph (c)(2) of this

section.

(xii) The notice for prospective hearing aid users required by

paragraph (c)(3) of this section.

(xiii) The technical data required by paragraph (c)(4) of this

section, unless such data is provided in separate labeling accompanying

the device.

(2) Warning statement. The User Instructional Brochure shall contain

the following warning statement:

Warning to Hearing Aid Dispensers

A hearing aid dispenser should advise a prospective hearing aid user

to consult promptly with a licensed physician (preferably an ear

specialist) before dispensing a hearing aid if the hearing aid dispenser

determines through inquiry, actual observation, or review of any other

available information concerning the prospective user, that the

prospective user has any of the following conditions:

(i) Visible congenital or traumatic deformity of the ear.

(ii) History of active drainage from the ear within the previous 90

days.

(iii) History of sudden or rapidly progressive hearing loss within

the previous 90 days.

(iv) Acute or chronic dizziness.

(v) Unilateral hearing loss of sudden or recent onset within the

previous 90 days.

(vi) Audiometric air-bone gap equal to or greater than 15 decibels

at 500 hertz (Hz), 1,000 Hz, and 2,000 Hz.

(vii) Visible evidence of significant cerumen accumulation or a

foreign body in the ear canal.

(viii) Pain or discomfort in the ear.

Special care should be exercised in selecting and fitting a hearing

aid whose maximum sound pressure level exceeds 132 decibels because

there may be risk of impairing the remaining hearing of the hearing aid

user. (This provision is required only for those hearing aids with a

maximum sound pressure capability greater than 132 decibels (dB).)

(3) Notice for prospective hearing aid users. The User Instructional

Brochure shall contain the following notice:

Important Notice for Prospective Hearing Aid Users

Good health practice requires that a person with a hearing loss have

a medical evaluation by a licensed physician (preferably a physician who

specializes in diseases of the ear) before purchasing a hearing aid.

Licensed physicians who specialize in diseases of the ear are often

referred to as otolaryngologists, otologists or otorhinolaryngologists.

The purpose of medical evaluation is to assure that all medically

treatable conditions that may affect hearing are identified and treated

before the hearing aid is purchased.

Following the medical evaluation, the physician will give you a

written statement that states that your hearing loss has been medically

evaluated and that you may be considered a candidate for a hearing aid.

The physician will refer you to an audiologist or a hearing aid

dispenser, as appropriate, for a hearing aid evaluation.

The audiologist or hearing aid dispenser will conduct a hearing aid

evaluation to assess your ability to hear with and without a hearing

aid. The hearing aid evaluation will enable the audiologist or dispenser

to select and fit a hearing aid to your individual needs.

If you have reservations about your ability to adapt to

amplification, you should inquire about the availability of a trial-

rental or purchase-option program. Many hearing aid dispensers now offer

programs that permit you to wear a hearing aid for a period of time for

a nominal fee after which you may

[[Page 32]]

decide if you want to purchase the hearing aid.

Federal law restricts the sale of hearing aids to those individuals

who have obtained a medical evaluation from a licensed physician.

Federal law permits a fully informed adult to sign a waiver statement

declining the medical evaluation for religious or personal beliefs that

preclude consultation with a physician. The exercise of such a waiver is

not in your best health interest and its use is strongly discouraged.

children with hearing loss

In addition to seeing a physician for a medical evaluation, a child

with a hearing loss should be directed to an audiologist for evaluation

and rehabilitation since hearing loss may cause problems in language

development and the educational and social growth of a child. An

audiologist is qualified by training and experience to assist in the

evaluation and rehabilitation of a child with a hearing loss.

(4) Technical data. Technical data useful in selecting, fitting, and

checking the performance of a hearing aid shall be provided in the User

Instructional Brochure or in separate labeling that accompanies the

device. The determination of technical data values for the hearing aid

labeling shall be conducted in accordance with the test procedures of

the American National Standard ``Specification of Hearing Aid

Characteristics,'' ANSI S3.22-2003 (Revision of ANSI S3.22-1996)

(Includes April 2007 Erratum). The Director of the Office of the Federal

Register approves this incorporation by reference in accordance with 5

U.S.C. 552(a) and 1 CFR part 51. Copies are available from the Standards

Secretariat of the Acoustical Society of America, 120 Wall St., New

York, NY 10005-3993, or are available for inspection at the Regulations

Staff, CDRH (HFZ-215), FDA, 1350 Piccard Dr., rm. 150, Rockville, MD

20850, or at the National Archives and Records Administration (NARA).

For information on the availability of this material at NARA, call 202-

741-6030, or go to: http://www.archives.gov/federal--register/code--of--

federal--regulations/ibr--locations.html. As a minimum, the User

Instructional Brochure or such other labeling shall include the

appropriate values or information for the following technical data

elements as these elements are defined or used in such standard:

(i) Saturation output curve (SSPL 90 curve).

(ii) Frequency response curve.

(iii) Average saturation output (HF-Average SSPL 90).

(iv) Average full-on gain (HF-Average full-on gain).

(v) Reference test gain.

(vi) Frequency range.

(vii) Total harmonic distortion.

(viii) Equivalent input noise.

(ix) Battery current drain.

(x) Induction coil sensitivity (telephone coil aids only).

(xi) Input-output curve (ACG aids only).

(xii) Attack and release times (ACG aids only).

(5) Statement if hearing aid is used or rebuilt. If a hearing aid

has been used or rebuilt, this fact shall be declared on the container

in which the hearing aid is packaged and on a tag that is physically

attached to such hearing aid. Such fact may also be stated in the User

Instructional Brochure.

(6) Statements in User Instructional Brochure other than those

required. A User Instructional Brochure may contain statements or

illustrations in addition to those required by paragraph (c) of this

section if the additional statements:

(i) Are not false or misleading in any particular, e.g., diminishing

the impact of the required statements; and

(ii) Are not prohibited by this chapter or by regulations of the

Federal Trade Commission.

[42 FR 9294, Feb. 15, 1977, as amended at 47 FR 9398, Mar. 5, 1982; 50

FR 30154, July 24, 1985; 54 FR 52396, Dec. 21, 1989; 64 FR 59620, Nov.

3, 1999; 69 FR 18803, Apr. 9, 2004; 73 FR 31360, June 2, 2008]

Sec. 801.421  Hearing aid devices; conditions for sale.

(a) Medical evaluation requirements--(1) General. Except as provided

in paragraph (a)(2) of this section, a hearing aid dispenser shall not

sell a hearing aid unless the prospective user has presented to the

hearing aid dispenser a written statement signed by a licensed physician

that states that the patient's hearing loss has been medically evaluated

and the patient may be considered

[[Page 33]]

a candidate for a hearing aid. The medical evaluation must have taken

place within the preceding 6 months.

(2) Waiver to the medical evaluation requirements. If the

prospective hearing aid user is 18 years of age or older, the hearing

aid dispenser may afford the prospective user an opportunity to waive

the medical evaluation requirement of paragraph (a)(1) of this section

provided that the hearing aid dispenser:

(i) Informs the prospective user that the exercise of the waiver is

not in the user's best health interest;

(ii) Does not in any way actively encourage the prospective user to

waive such a medical evaluation; and

(iii) Affords the prospective user the opportunity to sign the

following statement:

I have been advised by -------- -------- (Hearing aid dispenser's

name) that the Food and Drug Administration has determined that my best

health interest would be served if I had a medical evaluation by a

licensed physician (preferably a physician who specializes in diseases

of the ear) before purchasing a hearing aid. I do not wish a medical

evaluation before purchasing a hearing aid.

(b) Opportunity to review User Instructional Brochure. Before

signing any statement under paragraph (a)(2)(iii) of this section and

before the sale of a hearing aid to a prospective user, the hearing aid

dispenser shall:

(1) Provide the prospective user a copy of the User Instructional

Brochure for a hearing aid that has been, or may be selected for the

prospective user;

(2) Review the content of the User Instructional Brochure with the

prospective user orally, or in the predominate method of communication

used during the sale;

(3) Afford the prospective user an opportunity to read the User

Instructional Brochure.

(c) Availability of User Instructional Brochure. (1) Upon request by

an individual who is considering purchase of a hearing aid, a dispenser

shall, with respect to any hearing aid that he dispenses, provide a copy

of the User Instructional Brochure for the hearing aid or the name and

address of the manufacturer or distributor from whom a User

Instructional Brochure for the hearing aid may be obtained.

(2) In addition to assuring that a User Instructional Brochure

accompanies each hearing aid, a manufacturer or distributor shall with

respect to any hearing aid that he manufactures or distributes:

(i) Provide sufficient copies of the User Instructional Brochure to

sellers for distribution to users and prospective users;

(ii) Provide a copy of the User Instructional Brochure to any

hearing aid professional, user, or prospective user who requests a copy

in writing.

(d) Recordkeeping. The dispenser shall retain for 3 years after the

dispensing of a hearing aid a copy of any written statement from a

physician required under paragraph (a)(1) of this section or any written

statement waiving medical evaluation required under paragraph

(a)(2)(iii) of this section.

(e) Exemption for group auditory trainers. Group auditory trainers,

defined as a group amplification system purchased by a qualified school

or institution for the purpose of communicating with and educating

individuals with hearing impairments, are exempt from the requirements

of this section.

[42 FR 9296, Feb. 15, 1977]

Sec. 801.430  User labeling for menstrual tampons.

(a) This section applies to scented or scented deodorized menstrual

tampons as identified in Sec. 884.5460 and unscented menstrual tampons

as identified in Sec. 884.5470 of this chapter.

(b) Data show that toxic shock syndrome (TSS), a rare but serious

and sometimes fatal disease, is associated with the use of menstrual

tampons. To protect the public and to minimize the serious adverse

effects of TSS, menstrual tampons shall be labeled as set forth in

paragraphs (c), (d), and (e) of this section and tested for absorbency

as set forth in paragraph (f) of this section.

(c) If the information specified in paragraph (d) of this section is

to be included as a package insert, the following alert statement shall

appear prominently and legibly on the package label:

[[Page 34]]

Attention: Tampons are associated with Toxic Shock Syndrome (TSS).

TSS is a rare but serious disease that may cause death. Read and save

the enclosed information.

(d) The labeling of menstrual tampons shall contain the following

consumer information prominently and legibly, in such terms as to render

the information likely to be read and understood by the ordinary

individual under customary conditions of purchase and use:

(1)(i) Warning signs of TSS, e.g., sudden fever (usually 102[deg] or

more) and vomiting, diarrhea, fainting or near fainting when standing

up, dizziness, or a rash that looks like a sunburn;

(ii) What to do if these or other signs of TSS appear, including the

need to remove the tampon at once and seek medical attention

immediately;

(2) The risk of TSS to all women using tampons during their

menstrual period, especially the reported higher risks to women under 30

years of age and teenage girls, the estimated incidence of TSS of 1 to

17 per 100,000 menstruating women and girls per year, and the risk of

death from contracting TSS;

(3) The advisability of using tampons with the minimum absorbency

needed to control menstrual flow in order to reduce the risk of

contracting TSS;

(4) Avoiding the risk of getting tampon-associated TSS by not using

tampons, and reducing the risk of getting TSS by alternating tampon use

with sanitary napkin use during menstrual periods; and

(5) The need to seek medical attention before again using tampons if

TSS warning signs have occurred in the past, or if women have any

questions about TSS or tampon use.

(e) The statements required by paragraph (e) of this section shall

be prominently and legibly placed on the package label of menstrual

tampons in conformance with section 502(c) of the Federal Food, Drug,

and Cosmetic Act (the act) (unless the menstrual tampons are exempt

under paragraph (g) of this section).

(1) Menstrual tampon package labels shall bear one of the following

absorbency terms representing the absorbency of the production run, lot,

or batch as measured by the test described in paragraph (f)(2) of this

section;

------------------------------------------------------------------------

Ranges of absorbency in grams \1\     Corresponding term of absorbency

------------------------------------------------------------------------

6 and under                          Light absorbency

------------------------------------------------------------------------

6 to 9                               Regular absorbency

------------------------------------------------------------------------

9 to 12                              Super absorbency

------------------------------------------------------------------------

12 to 15                             Super plus absorbency

------------------------------------------------------------------------

15 to 18                             Ultra absorbency

------------------------------------------------------------------------

Above 18                             No term

------------------------------------------------------------------------

\1\These ranges are defined, respectively, as follows: Less than or

equal to 6 grams (g); greater than 6 g up to and including 9 g;

greater than 9 g up to and including 12 g; greater than 12 g up to and

including 15 g; greater than 15 g up to and including 18 g; and

greater than 18 g.

(2) The package label shall include an explanation of the ranges of

absorbency and a description of how consumers can use a range of

absorbency, and its corresponding absorbency term, to make comparisons

of absorbency of tampons to allow selection of the tampons with the

minimum absorbency needed to control menstrual flow in order to reduce

the risk of contracting TSS.

(f) A manufacturer shall measure the absorbency of individual

tampons using the test method specified in paragraph (f)(2) of this

section and calculate the mean absorbency of a production run, lot, or

batch by rounding to the nearest 0.1 gram.

(1) A manufacturer shall design and implement a sampling plan that

includes collection of probability samples of adequate size to yield

consistent tolerance intervals such that the probability is 90 percent

that at least 90 percent of the absorbencies of individual tampons

within a brand and type are within the range of absorbency stated on the

package label.

(2) In the absorbency test, an unlubricated condom, with tensile

strength between 17 Mega Pascals (MPa) and 30 MPa, as measured according

to the procedure in the American Society for Testing and Materials

(ASTM) D 3492-97, ``Standard Specification for Rubber Contraceptives

(Male Condoms)'' \1\ for determining tensile

[[Page 35]]

strength, which is incorporated by reference in accordance with 5 U.S.C.

552(a), is attached to the large end of a glass chamber (or a chamber

made from hard transparent plastic) with a rubber band (see figure 1)

and pushed through the small end of the chamber using a smooth, finished

rod. The condom is pulled through until all slack is removed. The tip of

the condom is cut off and the remaining end of the condom is stretched

over the end of the tube and secured with a rubber band. A preweighed

(to the nearest 0.01 gram) tampon is placed within the condom membrane

so that the center of gravity of the tampon is at the center of the

chamber. An infusion needle (14 gauge) is inserted through the septum

created by the condom tip until it contacts the end of the tampon. The

outer chamber is filled with water pumped from a temperature-controlled

waterbath to maintain the average temperature at 27<plus-

minus<ls-thn-eq>1 [deg]C. The water returns to the waterbath as shown in

figure 2. Syngyna fluid (10 grams sodium chloride, 0.5 gram Certified

Reagent Acid Fushsin, 1,000 milliliters distilled water) is then pumped

through the infusion needle at a rate of 50 milliliters per hour. The

test shall be terminated when the tampon is saturated and the first drop

of fluid exits the apparatus. (The test result shall be discarded if

fluid is detected in the folds of the condom before the tampon is

saturated). The water is then drained and the tampon is removed and

immediately weighed to the nearest 0.01 gram. The absorbency of the

tampon is determined by subtracting its dry weight from this value. The

condom shall be replaced after 10 tests or at the end of the day during

which the condom is used in testing, whichever occurs first.

---------------------------------------------------------------------------

\1\ Copies of the standard are available from the American Society

for Testing and Materials, 100 Barr Harbor Dr., West Conshohocken, PA

19428, or available for inspection at the Center for Devices and

Radiological Health's Library, 9200 Corporate Blvd., Rockville, MD

20850, or at the National Archives and Records Administration (NARA).

For information on the availability of this material at NARA, call 202-

741-6030, or go to: http://www.archives.gov/federal--register/code--of--

federal--regulations/ibr--locations.html.

---------------------------------------------------------------------------

[[Page 36]]

[GRAPHIC] [TIFF OMITTED] TR01FE93.026

[[Page 37]]

[GRAPHIC] [TIFF OMITTED] TR01FE93.027

(3) The Food and Drug Administration may permit the use of an

absorbency test method different from the test method specified in this

section if each of the following conditions is met:

(i) The manufacturer presents evidence, in the form of a citizen

petition

[[Page 38]]

submitted in accordance with the requirements of Sec. 10.30 of this

chapter, demonstrating that the alternative test method will yield

results that are equivalent to the results yielded by the test method

specified in this section; and

(ii) FDA approves the method and has published notice of its

approval of the alternative test method in the Federal Register.

(g) Any menstrual tampon intended to be dispensed by a vending

machine is exempt from the requirements of this section.

(h) Any menstrual tampon that is not labeled as required by

paragraphs (c), (d), and (e) of this section and that is initially

introduced or initially delivered for introduction into commerce after

March 1, 1990, is misbranded under sections 201(n), 502 (a) and (f) of

the act.

(Information collection requirements contained in paragraphs (e) and (f)

were approved by the Office of Management and Budget under control

number 0910-0257)

[47 FR 26989, June 22, 1982, as amended at 54 FR 43771, Oct. 26, 1989;

55 FR 17600, Apr. 26, 1990; 65 FR 3586, Jan. 24, 2000; 65 FR 44436, July

18, 2000; 65 FR 62284, Oct. 18, 2000; 69 FR 18803, Apr. 9, 2004; 69 FR

52171, Aug. 25, 2004]

Sec. 801.433  Warning statements for prescription and restricted device products containing or manufactured with chlorofluorocarbons or other ozone-depleting

substances.

(a)(1) All prescription and restricted device products containing or

manufactured with chlorofluorocarbons, halons, carbon tetrachloride,

methyl chloride, or any other class I substance designated by the

Environmental Protection Agency (EPA) shall, except as provided in

paragraph (b) of this section, bear the following warning statement:

Warning: Contains [or Manufactured with, if applicable] [insert name

of substance], a substance which harms public health and environment by

destroying ozone in the upper atmosphere.

(2) The warning statement shall be clearly legible and conspicuous

on the product, its immediate container, its outer packaging, or other

labeling in accordance with the requirements of 40 CFR part 82 and

appear with such prominence and conspicuousness as to render it likely

to be read and understood by consumers under normal conditions of

purchase.

(b)(1) For prescription and restricted device products, the

following alternative warning statement may be used:

Note: The indented statement below is required by the Federal

government's Clean Air Act for all products containing or manufactured

with chlorofluorocarbons (CFC's) [or name of other class I substance, if

applicable]:

This product contains [or is manufactured with, if applicable]

[insert name of substance], a substance which harms the environment by

destroying ozone in the upper atmosphere.

Your physician has determined that this product is likely to help

your personal health. USE THIS PRODUCT AS DIRECTED, UNLESS INSTRUCTED TO

DO OTHERWISE BY YOUR PHYSICIAN. If you have any questions about

alternatives, consult with your physician.

(2) The warning statement shall be clearly legible and conspicuous

on the product, its immediate container, its outer packaging, or other

labeling in accordance with the requirements of 40 CFR part 82 and

appear with such prominence and conspicuousness as to render it likely

to be read and understood by consumers under normal conditions of

purchase.

(3) If the warning statement in paragraph (b)(1) of this section is

used, the following warning statement must be placed on the package

labeling intended to be read by the physician (physician package insert)

after the ``How supplied'' section, which describes special handling and

storage conditions on the physician labeling:

Note: The indented statement below is required by the Federal

government's Clean Air Act for all products containing or manufactured

with chlorofluorocarbons (CFC's) [or name of other class I substance, if

applicable]:

Warning: Contains [or Manufactured with, if applicable] [insert name

of substance], a substance which harms public health and environment by

destroying ozone in the upper atmosphere.

A notice similar to the above WARNING has been placed in the

information for the patient [or patient information leaflet, if

applicable] of this product under Environmental Protection Agency (EPA)

regulations. The patient's warning states that the patient should

consult his or her physician if there are questions about alternatives.

[[Page 39]]

(c) This section does not replace or relieve a person from any

requirements imposed under 40 CFR part 82.

[61 FR 20101, May 3, 1996]

Sec. 801.435  User labeling for latex condoms.

(a) This section applies to the subset of condoms as identified in

Sec. 884.5300 of this chapter, and condoms with spermicidal lubricant

as identified in Sec. 884.5310 of this chapter, which products are

formed from latex films.

(b) Data show that the material integrity of latex condoms degrade

over time. To protect the public health and minimize the risk of device

failure, latex condoms must bear an expiration date which is supported

by testing as described in paragraphs (d) and (h) of this section.

(c) The expiration date, as demonstrated by testing procedures

required by paragraphs (d) and (h) of this section, must be displayed

prominently and legibly on the primary packaging (i.e., individual

package), and higher levels of packaging (e.g., boxes of condoms), in

order to ensure visibility of the expiration date by consumers.

(d) Except as provided under paragraph (f) of this section, the

expiration date must be supported by data demonstrating physical and

mechanical integrity of the product after three discrete and

representative lots of the product have been subjected to each of the

following conditions:

(1) Storage of unpackaged bulk product for the maximum amount of

time the manufacturer allows the product to remain unpackaged, followed

by storage of the packaged product at 70 [deg]C (plus or minus 2 [deg]C)

for 7 days;

(2) Storage of unpackaged bulk product for the maximum amount of

time the manufacturer allows the product to remain unpackaged, followed

by storage of the packaged product at a selected temperature between 40

and 50 [deg]C (plus or minus 2 [deg]C) for 90 days; and

(3) Storage of unpackaged bulk product for the maximum amount of

time the manufacturer allows the product to remain unpackaged, followed

by storage of the packaged product at a monitored or controlled

temperature between 15 and 30 [deg]C for the lifetime of the product

(real time storage).

(e) If a product fails the physical and mechanical integrity tests

commonly used by industry after the completion of the accelerated

storage tests described in paragraphs (d)(1) and (d)(2) of this section,

the product expiration date must be demonstrated by real time storage

conditions described in paragraph (d)(3) of this section. If all of the

products tested after storage at temperatures as described in paragraphs

(d)(1) and (d)(2) of this section pass the manufacturer's physical and

mechanical integrity tests, the manufacturer may label the product with

an expiration date of up to 5 years from the date of product packaging.

If the extrapolated expiration date under paragraphs (d)(1) and (d)(2)

of this section is used, the labeled expiration date must be confirmed

by physical and mechanical integrity tests performed at the end of the

stated expiration period as described in paragraph (d)(3) of this

section. If the data from tests following real time storage described in

paragraph (d)(3) of this section fails to confirm the extrapolated

expiration date, the manufacturer must, at that time, relabel the

product to reflect the actual shelf life.

(f) Products that already have established shelf life data based

upon real time storage and testing and have such storage and testing

data available for inspection are not required to confirm such data

using accelerated and intermediate aging data described in paragraphs

(d)(1) and (d)(2) of this section. If, however, such real time

expiration dates were based upon testing of products that were not first

left unpackaged for the maximum amount of time as described in paragraph

(d)(3) of this section, the real time testing must be confirmed by

testing products consistent with the requirements of paragraph (d)(3) of

this section. This testing shall be initiated no later than the

effective date of this regulation. Until the confirmation testing in

accordance with paragraph (d)(3) of this section is completed, the

product may remain on the market labeled with the expiration date based

upon previous real time testing.

(g) If a manufacturer uses testing data from one product to support

expiration dating on any variation of that

[[Page 40]]

product, the manufacturer must document and provide, upon request, an

appropriate justification for the application of the testing data to the

variation of the tested product.

(h) If a latex condom contains a spermicide, and the expiration date

based on spermicidal stability testing is different from the expiration

date based upon latex integrity testing, the product shall bear only the

earlier expiration date.

(i) The time period upon which the expiration date is based shall

start with the date of packaging.

(j) As provided in part 820 of this chapter, all testing data must

be retained in each company's files, and shall be made available upon

request for inspection by the Food and Drug Administration.

(k) Any latex condom not labeled with an expiration date as required

by paragraph (c) of this section, and initially delivered for

introduction into interstate commerce after the effective date of this

regulation is misbranded under sections 201(n) and 502(a) and (f) of

Federal Food, Drug, and Cosmetic Act (21 U.S.C. 321(n) and 352(a) and

(f)).

[62 FR 50501, Sept. 26, 1997]

Sec. 801.437  User labeling for devices that contain natural rubber.

(a) Data in the Medical Device Reporting System and the scientific

literature indicate that some individuals are at risk of severe

anaphylactic reactions to natural latex proteins. This labeling

regulation is intended to minimize the risk to individuals sensitive to

natural latex proteins and protect the public health.

(b) This section applies to all devices composed of or containing,

or having packaging or components that are composed of, or contain,

natural rubber that contacts humans. The term ``natural rubber''

includes natural rubber latex, dry natural rubber, and synthetic latex

or synthetic rubber that contains natural rubber in its formulation.

(1) The term ``natural rubber latex'' means rubber that is produced

by the natural rubber latex process that involves the use of natural

latex in a concentrated colloidal suspension. Products are formed from

natural rubber latex by dipping, extruding, or coating.

(2) The term ``dry natural rubber'' means rubber that is produced by

the dry natural rubber process that involves the use of coagulated

natural latex in the form of dried or milled sheets. Products are formed

from dry natural rubber by compression molding, extrusion, or by

converting the sheets into a solution for dipping.

(3) The term ``contacts humans'' means that the natural rubber

contained in a device is intended to contact or is likely to contact the

user or patient. This includes contact when the device that contains

natural rubber is connected to the patient by a liquid path or an

enclosed gas path; or the device containing the natural rubber is fully

or partially coated with a powder, and such powder may carry natural

rubber proteins that may contaminate the environment of the user or

patient.

(c) Devices containing natural rubber shall be labeled as set forth

in paragraphs (d) through (h) of this section. Each required labeling

statement shall be prominently and legibly displayed in conformance with

section 502(c) of the Federal Food, Drug, and Cosmetic Act (the act) (21

U.S.C. 352(c)).

(d) Devices containing natural rubber latex that contacts humans, as

described in paragraph (b) of this section, shall bear the following

statement in bold print on the device labeling:

``Caution: This Product Contains Natural Rubber Latex Which May

Cause Allergic Reactions.''

This statement shall appear on all device labels, and other labeling,

and shall appear on the principal display panel of the device packaging,

the outside package, container or wrapper, and the immediate device

package, container, or wrapper.

(e) Devices containing dry natural rubber that contacts humans, as

described in paragraph (b) of this section, that are not already subject

to paragraph (d) of this section, shall bear the following statement in

bold print on the device labeling:

``This Product Contains Dry Natural Rubber.''

This statement shall appear on all device labels, and other labeling,

and shall appear on the principal display

[[Page 41]]

panel of the device packaging, the outside package, container or

wrapper, and the immediate device package, container, or wrapper.

(f) Devices that have packaging containing natural rubber latex that

contacts humans, as described in paragraph (b) of this section, shall

bear the following statement in bold print on the device labeling:

``Caution: The Packaging of This Product Contains Natural Rubber

Latex Which May Cause Allergic Reactions.''

This statement shall appear on the packaging that contains the natural

rubber, and the outside package, container, or wrapper.

(g) Devices that have packaging containing dry natural rubber that

contacts humans, as described in paragraph (b) of this section, shall

bear the following statement in bold print on the device labeling:

``The Packaging of This Product Contains Dry Natural Rubber.''

This statement shall appear on the packaging that contains the natural

rubber, and the outside package, container, or wrapper.-

(h) Devices that contain natural rubber that contacts humans, as

described in paragraph (b) of this section, shall not contain the term

``hypoallergenic'' on their labeling.

(i) Any affected person may request an exemption or variance from

the requirements of this section by submitting a citizen petition in

accordance with Sec. 10.30 of this chapter.

(j) Any device subject to this section that is not labeled in

accordance with paragraphs (d) through (h) of this section and that is

initially introduced or initially delivered for introduction into

interstate commerce after the effective date of this regulation is

misbranded under sections 201(n) and 502(a), (c), and (f) of the act (21

U.S.C. 321(n) and 352(a), (c), and (f)).

Note to Sec. 801.437: Paragraphs (f) and (g) are stayed until June

27, 1999, as those regulations relate to device packaging that uses

``cold seal'' adhesives.

[62 FR 51029, Sept. 30, 1997, as amended at 63 FR 46175, Aug. 31, 1998]